## Sheet1
Fault Trees | CAFTA | Model | Quantification | Responsibility | Note | Event Trees | CAFTA | Saphire
CRW-MFT |  | Not Started |  |  |  | Anticipated Transient Requiring Scram |  |  |  | Event Trees List | Fault Trees List | Dependency Matrix ?
Failure to trip reactor using RSCE (DEP-MFT) |  | Not Started |  |  |  | Control Rod Group Withdrawal |  |  |  | Primary coolant leaks | CRW
HTS-MFT |  | In-progress |  |  |  | Loss of HTS Cooling |  |  |  | Small steam generator leaks | shutdown cooling system (SCS)
GT-MFT |  | In-progress |  |  |  | Loss of Offsite Power |  |  |  | Moderate steam generator leaks | Automatic Steam Generator Dump.
LOOP |  | In-progress |  | R |  | Moderate SG tube Leak |  |  |  | Loss of HTS cooling (HTS) | Reaccor Trip
LOOP-MFT |  | In-progress |  | P |  | Primary Coolant Leaks |  |  |  | Loss of offsite power (LOOP) | Moisture Monitor Detection
SGTL-MFT |  | In-progress |  |  |  | Small SG Tube Leak |  |  |  | Control rod withdrawal (CRW) | Automatic Steam Generator Isolation
SGTR-MFT |  | In-progress | [7 empty] | Anticipated transients requiring scram (ATRS) | Steam Generator Relief Train Response
Reactor Cavity Cooling System
HPS Pumpdown
Automatic Steam Generator Dump.
Reaccor Trip
Moisture Monitor Detection
Automatic Steam Generator Isolation
Steam Generator Relief Train Response
Reactor Cavity Cooling System
Dependency matrix to know which FT is required to quantify the ET

## Sheet2
| Control Rod Group Withdrawal | Anticipated Transient Requiring Scram | Loss of HTS Cooling | Loss of Offsite Power | Moderate SG tube Leak | Primary Coolant Leaks | Small SG Tube Leak
CRW-MFT ( | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
DEP-MFT (failure of SCS) | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE
HTS-MFT | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE
GT-MFT (ATRS&(RT-RC or HTS) | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE
LOOP | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
LOOP-MFT | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
SGTL-MFT | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
SGTR-MFT | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| Control Rod Group Withdrawal | Anticipated Transient Requiring Scram | Loss of HTS Cooling | Loss of Offsite Power | Moderate SG tube Leak | Primary Coolant Leaks | Small SG Tube Leak
| HTS failure in at least one module (HTS-MFT) | single module probability (MODULES) | single module probability (MODULES) | single module probability (MODULES)
| SCS failure when one module require cooling (DEP-MFT) | HTS failure in at least one module | RT-RC failure (GT-MFT) | SCS failure when one module require cooling (DEP-MFT) - H1
| RCCs failure in single module (DEP-MFT) | SCS failure when one module require cooling (DEP-MFT) | SCS failure when one module require cooling (DEP-MFT) | RCCs failure in single module (DEP-MFT)
| RT-RC failure (GT-MFT) | intentional depressurization fails (HTS or DEP) | RCCs failure in single module (DEP-MFT) | RT-RC failure (GT-MFT)
| RT failure using RSCE | Cooling restored in an unpressurized vessel (HPS pumpdown success) DEP-MFT | intentional depressurization fails (HTS or DEP) | RT failure using RSCE
|  | Cooling restored in an pressurized vessel (HPS pumpdown fail) DEP-MFT | Cooling restored in an unpressurized vessel (HPS pumpdown success) DEP-MFT
|  | RT-RC failure (GT-MFT) | Cooling restored in an pressurized vessel (HPS pumpdown fail) DEP-MFT
|  | RT failure using RSCE | RT failure using RSCE
|  | operator fails to manually trip the reactor after a GT (GT-MFT) | failure of SCS when 4 modules require cooling
RCCs failure in several modules (DEP-MFT)
intentional depressurization fails (HTS or DEP)
SCS failure when 4 modules require cooling (DEP-MFT)

## Update
Event Tree | Status | Responsibility | Fault Tree | CAFTA Symbol | Status | Responsibility | System | Status | Responsibility | Name in SAPHIRE
Control Rod Group Withdrawal |  | Priyanka | RCCS cooling single module | RCCS-1 | Done | Rawan | RCCS- Cooling provided by RCCS | Done | Rawan | RCCS
|  |  | Failure of SCS when one module requires cooling | H1 | Done | Priyanka | G767- Failure of SCS | Done | Priyanka
|  |  | Failure of HTS in at least one module | G1-MT | Done | Priyanka |  | Done | Priyanka
|  |  | Failure to trip reactor using RSCE | CR3-G4-B | Done | Rawan |  | Done | Rawan
|  |  | Failure to trip reactor using CR | CR3-G4-A | Done | Rawan |  | Done | Rawan
Anticipated Transient Requiring Scram |  |  | Cooling restored prior to vessel damage | N1 |  |  | Cooling restored in an unpressurized vessel (HPS PMPDWN success) | COOL-RESTORE-UNPRESS
[7 empty] | Cooling restored in a pressurized vessel (HPS PMPDWN failed) | COOL-RESTORE-PRESS
|  |  | Intentional depressurization fails | K1 | Done | Priyanka
|  |  | Cooling provided by RCCS | RCCS |  |  | RCCS-1, RCCS-4
Small SG Tube Leak |  | rawan
Loss of HTS Cooling |  | priyanka
Loss of Offsite Power |  | priyanka
Moderate SG tube Leak |  | rawan
Primary Coolant Leaks |  | priyanka | breaksize |  | done | priyanka
|  |  | RT-CR |  | done | rawan
|  |  | RT-RSCE |  | done | rawan
|  |  | HTS |  | done | priyanka
|  |  | SCS |  | broke, fixing | priyanka
|  |  | RCCS |  | done | rawan
anticipated transient requiring scram |  | priyanka | RT-CR |  | done
|  |  | RT-RSCE |  | done
RT-Manual
|  |  | HTS |  | done
|  |  | SCS |  | done
RCCS
HPS-Pumpdown

## Sheet4
Top-level fault tree | Description | Name IN CAFTA |  | Name in Report | Status | Name in SAPHIRE
LOSS OF HTS COOLING |  | G1, G1-MT | FAILURE OF HTS IN AT LEAST ONE MODULE | G1 | Done | G1 | Missing in SAPHIRE
|  | G2, G2-MT | ECS FAILURE TO REMOVE HEAT FROM AT LEAST ONE MODULE | G2 |  |  | RCCS
|  | G5-1, G5-2 | ECS TRAIN FAILS | A |  | A, A-R1
|  | G5-MT1 | FEEDWATER AND CONDENSATE SUBSYSTEM FAILS | J |  | J
|  |  | SERVICE WATER FAILURE | Q |  | Q
|  |  | TURBINE BUILDING CLOSED COOLING WATER FAILURE | D |  | D
|  |  | REACTDR PLANT COOLING WATER FAILS | E |  | E
|  |  | NON-CLASS 1 E ELECTRIC POWER SUPPLY FAILURE | X |  | X
|  | G120-MT | LOSS OF CLASS IE 120 VAC UNINTERRUPTIBLE POWER SUPPLY | G |  | G
|  | G161-MT1 | HTS CIRCULATOR 1, 2, 3, 4 FAILS | H |  | H
TURBINE BUILDING CLOSED COLLING WATER SUBSYSTEM FAILURE |  | G44-MT | TURBINE BUILDING CLOSED COOLING WATER FAILURE | G44 | Done | D
|  | G45-MT | PUMP INJECTION FAILURE | G45
|  | G90-MT | BACKUP PUMP NO FLOW PATH | G90 |  | D2
|  | G200-MT | NON CLASS IE-POWER SUPPLY FAILS (X1, X2, X3) | X |  | X
|  | G51-MT | LOSS OF HEAT SINK | G51 |  | D1
REACTDR PLANT COOLING WATER SUBSYSTEM FAILURE |  | G101-MT | REACTDR PLANT COOLING WATER FAILS | G101 | Done | E
|  |  | LOSS OF SYSTEM PRESSURE | G102
|  | G103-MT | LOSS OF HEAT EXCHANGERS | G103 |  | E4
|  | G107-MT | LOSS OF COOLING WATER FLOW | G107 |  | E1
LOSS OF CLASS IE 120 VAC UNINTERRUPTIBLE POWER SUPPLY |  | G120-MT | LOSS OF CLASS IE 120 VAC UNINTERRUPTIBLE POWER SUPPLY | G120 | Done | G
|  | G131-1-MT | POWER FAILURE FROM NORMAL AND ALTERNATE SUPPLY PANEL (G2, G3, G4, G5, G6, G7, G8, G9, G10, G11, G12 ) | G131 |  | G1-1
SCS FAILURE IN AT LEAST ONE MOOULE WHERE HTS FAILED |  | J1 | SCS FAILS IN AT LEAST ONE MODULE WHERE HTS FAILED | G1 | Done | G1-2
|  | J2 | SCS FAILS TO START | A |  | A-1
|  | J10 | SCS FAILS TO OPERATE | B |  | B
FAILURE OF SCS WHEN ONE MODULE REOUIRES COOLING |  | H1 | FAILURE OF SCS WHEN ONE MODULE REOUIRES COOLING | G1 | Done | G1-4
|  | H21-1 | SCS HEAT EXCHANGER FAILURE | E |  | E-1
|  | H4-1 | SCS CIRCULATOR FAILURE IN ONE MODULE | A |  | A-2
|  | H6 | LOSS OF COOLING TO MODULES | B |  | B1, G1-4-B
|  | G1201E/MT | LOSS OF CLASS IE 120 VAC UNINTERRUPTIBlE POWER SUPPLY | G |  | G, G1-4-G, G3-1-1
|  | G218-1E/MT | LOSS OF 480 VAC POWER SUPPLY | G6 |  | G6, G1-4-G6, G6-COPY-2
LOSS OF SCS COOLING WHEN FOUR MODULES REQUIRE COOLING |  |  | FAILURE OF SCS WHEN FOUR MODULES REQUIRE COOLING | G1 | Done | G1-4
|  |  | NSSS FAILURE | G2
|  |  | SCS HEAT EXCHANGER FAILS IN AT LEAST ONE MODULE | G21A
|  |  | HEAT EXCH. FAILS MODULE NO.1, 2, 3, 4 | E |  | G1-4-E
|  |  | SCS CIRCULATOR FAILS IN AT LEAST ONE MODULE | G2A |  | A-2
|  |  | MODULE NO.1, 2, 3, 4 CIRC. FAILS | A |  | G1-4-A
|  |  | SHUTDOWN CIRCULATOR MOTOR COOLING FAILURE | G4 |  | A-2-A1
|  |  | SCS ACTUATION FAILURE IN AT LEAST ONE MODULE | G2B |  | A-2
|  |  | MODULE NO.1, 2, 3, 4 FAILS | A2 |  | G1-4-A2
|  |  | BOP FAILURE | G3 |  | G1-4
|  |  | LOSS OF COOLING TO MODULES | B |  | B-1, G1-4-B
|  |  | LOSS OF SERVICE WATER | B4 |  | B-1-B4, B-1-B4-DUP
|  |  | NORMAL SERVICE WATER FAILURE | B1 |  | B-1-B4-B1
|  |  | LOSS OF SHUTDOWN SERVICE WATER PUMP2 | B3 |  | B-1-B4-B3
|  |  | LOSS OF SHUTDOWN SERVICE WATER PUMP3 | B3 |  | B-1-B4-B3
|  |  | SHUTDOWN COOLING WATER SUBSYSTEM FAILS | F |  | B-1-F, B-1-F-DUP
|  |  | HEAT EXCHANGER LEAK FAILURE | L1 |  | B-1-F-L1
|  |  | FAILURE TO ISOLATE | L2 |  | B-1-F-L1-L2
|  |  | HEAT EXCHANGER 'A' FAILS, HEAT EXCHANGER 'B' FAILS | L3 |  | B-1-F-010
|  |  | PUMP 'A' FAILS, PUMP 'B' FAILS | I1 |  | B-1-F-I1
|  |  | PUMP ACTUATION FAILURE | I2 |  | B-1-I2
|  |  | FAILURE TO OPERATE | I3 |  | B-1-F-I3
|  | G120-MT | LOSS OF CLASS 1E 120 VAC UNINTERRUPTIBLE POWER SUPPLY | G |  | G, G1-4-G, G3-1-1
|  | G131-1-MT | LOSS OF 480 VAC POWER SUPPLY | G6 |  | G6, G1-4-G6, G6-COPY-2
HEATER FAILURE |  | G10-MT1 | HEATER FAILURE | G10 | Done | J2
|  |  | 2ND POINT LP HEATER FAILS | G11
|  |  | FAILURE TO BYPASS | G14
|  |  | VALVE C FAILS W/O FLOW REDIRECTION | G17
|  |  | INLET VALVE FAILS WITHOUT FLOW REDIRECTION | G18
|  |  | FLOW REDIRECTION FAILS | G22
|  |  | FLOW REDIRECTION FAILS | G23
|  |  | 3RD POINT LP HEATER FAILS | G12
|  |  | FAILURE TO BYPASS | G15
|  |  | VALVE CAND 0 FAIL TO OPEN | G19
|  |  | OUTLET VALVE FAILS WITHOUT FLOW REDIRECTION | G20
|  |  | FLOW REDIRECTION FAILS | G24
|  |  | 4TH POINT LP HEATER FAILS | G13
|  |  | HEATER B | G16
|  |  | FAILURE TO BYPASS | G21
DEMINERALIZER FAILURES |  | G25-MT2 | DEMINERALIZER FAILURES | G25 | Done | N
|  | G26-MT2 | EXCESSIVE LEAKAGE | G26 |  | N1
|  | G21-D-MT2 | FAILURE TO BYPASS | J3 |  | J3
CIRCULATING WATER SUBSYSTEM FAILURE |  | G27-MT2 | CIRCULATING WATER FAILURE | G27 | Done | I
|  | G28-MT2 | CIRCULATING WATER PUMPS FAIL | G28 |  | I2
|  | G34-MT2 | CIRCULATING WATER PUMP ISOLATION VALVES CLOSED | G31 |  | I3
|  | G34-MT2 | CONDENSER INLET ISOLATION VALVES CLOSED | G34 |  | I4
|  | G37-MT2 | CONDENSER OUTLET ISOLATION VALVES CLOSED | G37 |  | I5
SERVICE WATER SUBSYSTEM FAILURE |  | G40-MT | SERVICE WATER FAILURE | G40 | Done | Q
|  | G41-MT | LOSS OF PUMPS | G41
|  | G42-MT | FAILURE OF VALVE(S) WITH SHUTDOWN SERVICE WATER CONNECTION | G42
|  |  | INTENTIONAL DEPRESSURIZATION fAILS | G1 | Done | K, KK

## Sheet6
ET | Main FT | Cafta | SAPHIRE | Sub FTs | Cafta | SAPHIRE | Status | R-MODEL
Loss of HTS cooling | Failure of HTS in at least One Module | G1, G1-MT |  |  |  |  | DONE | COMPLETE
|  |  |  | ECS TRAIN 1 FAILS | G5-1-MT | A | DONE | COMPLETE
|  |  |  | ECS TRAIN 2 FAILS | G5-2-MT | A-R1 | DONE | COMPLETE
|  |  |  | FEEDWATER AND CONDENSATE SUBSYSTEM FAILS | G158-MT | J | DONE | COMPLETE
|  |  |  | DEMINERALIZER FAILURES | G25-MT2 | N | DONE | COMPLETE
|  |  |  | CIRCULATING WATER FAILURE | G27-MT2 | I | DONE | COMPLETE
|  |  |  | SERVICE WATER FAILURE | G40-MT | Q | DONE | COMPLETE
|  |  |  | TURBINE BUILDING CLOSED COOLING WATER FAILURE | G44-MT | D | DONE | COMPLETE
|  |  |  | BACKUP PUMP NO FLOW PATH | G90-MT | D2 | DONE | COMPLETE
|  |  |  | NON CLASS IE-POWER SUPPLY FAILS (X1, X2, X3) | G200-MT | X | DONE | COMPLETE
|  |  |  | No Unit Generator Power to Unit Aux TFR1 |  | X3 | DONE | COMPLETE
|  |  |  | Unit Generator Supply to Unit 1 Side Failure |  | X2 | DONE | COMPLETE
|  |  |  | Startup Auxiliary Transformer 1 No Output |  | X1 | DONE | COMPLETE
|  |  |  | LOSS OF HEAT SINK | G51-MT | D1 | DONE | COMPLETE
|  |  |  | No Flow Through Heat Exchanger | G54-1/MT | D3COPY | NO | NOT AVAILABLE
|  |  |  | Backup Pump No Flow Path | G90/MT | D2 | DONE | COMPLETE
|  |  |  | REACTDR PLANT COOLING WATER FAILS | G101/MT | E | DONE | COMPLETE
|  |  |  | LOSS OF COOLING WATER FLOW | G107/MT | E1 | DONE | COMPLETE
|  |  |  | LOSS OF HEAT EXCHANGERS | G103 | E4 | DONE | COMPLETE
| FAILURE OF SCS WHEN ONE MODULE REQUIRE COOLING | H1 | G1-3 |  |  |  | DONE | COMPLETE
|  |  |  | LOSS OF COOLING TO MODULES | H6 | B-1 | DONE | COMPLETE
|  |  |  | LOSS OF SERVICE WATER | H7 | B-1-B4 | DONE | COMPLETE
|  |  |  | NORMAL SERVICE WATER FAILRE | H12A | B-1-B4-B1 | DONE | COMPLETE
|  |  |  | LOSS OF SHUTDOWN SERVICE WATER PUMP1 | H34-1 | B-1-B4-B3 | DONE | COMPLETE
|  |  |  | LOSS OF SHUTDOWN SERVICE WATER PUMP2 | H34-2 | B-1-B4-B3-R1 | DONE | COMPLETE
|  |  |  | LOSS OF SHUTDOWN SERVICE WATER PUMP3 | H34-3 | B-1-B4-B3-R2 | DONE | COMPLETE
|  |  |  | SHUTDOWN COOLING WATER SUBSYSTEM FAILS | H23 | B-1-F | DONE | COMPLETE
|  |  |  | HEAT EXCHANGER LEAK FAILURE | H27 | B-1-F-L1 | DONE | COMPLETE
|  |  |  | HEAT EXCHANGER 'A' FAILS | H28A | B-1-F-G28A | DONE | COMPLETE
|  |  |  | HEAT EXCHANGER 'B' FAILS | H28B | B-1-F010 | DONE | COMPLETE
|  |  |  | PUMP 'A' FAILS | H16A | B-1-F-G16 | DONE | COMPLETE
|  |  |  | PUMP 'B' FAILS | H16B | B-1-F-I1 | DONE | COMPLETE
|  |  |  | PUMP ACTUATION FAILURE - A | H17A | B-1-I2 | DONE | COMPLETE
|  |  |  | FAILURE TO OPERATE | H17B | B1-F-I3 | DONE | COMPLETE
|  |  |  | PUMP ACTUATION FAILURE - B | H18A | B-1-I2-1 | DONE | COMPLETE
|  |  |  | FAILURE TO OPERATE | H18B | B1-F-I3-1 | DONE | COMPLETE
|  |  |  | LOSS OF CLASS 1E 120 VAC UNINTERRUPTIBLE POWER SUPPLY | G120/MT/IE | G3-1-1 | NO | NOT AVAILABLE
|  |  |  | LOSS OF 480 VAC POWER SUPPLY | G218-1/IE/MT | G6-COPY-2 | DONE | COMPLETE
|  |  |  | SCS HEAT EXCHANGER FAILURE | H21-1 | E-1 | DONE | COMPLETE
|  |  |  | SCS CIRCULATOR FAILURE IN ONE MODULE | H4-1 | A-2 | DONE | COMPLETE
|  |  |  | SHUTDOWN CIRCULATOR MOTOR COOLING FAILURE | H26-1 | A-2-A1 | DONE | COMPLETE
| FAILURE OF SCS WHEN FOUR MODULES REQUIRE COOLING | D1/I1/T1 | G1-4 |  |  |  | NO | NOT AVAILABLE
| INTENTIONAL DEPRESSURIZATION FAILS | K1 | K, KK |  |  |  | NO | NOT AVAILABLE

## name changes
update
CR3-G4-A | RT-CR

## Sheet3
Main FT | Sub FT
RCCS
G909 | RELIEF
RELIEF-EASY

## Sheet5
Main Systems | Abbreviation | Subsytems | Buidings and Components
Heat Transport System | HTS | Reactor Core Subsystem | Cooling Tower Basin and Circulating Water Pump House
Shutdown Cooling System | SCS | Reactor Internals Subsystem | Switchgear Building
Reactor Cavity Cooling System | RCCS | Neutron Control Subsystem | Turbine Building
Plant Protection and Instrumentation System | PPIS | Vessels and Duct Subsystem | Standby Power Building
Non-Class 1E ac Distribution System |  | Reactor Building Subsystem
Class 1E Uninterruptible Power Supply System |  | Steam and Water Dump Subsystem
Pressure Relief Subsystem
Main and Bypass Steam Subsystem
Feedwater and Condensate Subsystem
Service Water Subsystem
Reactor Plant Cooling Water Subsystem
Turbine Building Closed Cooling Water Subsystem
Circulating Water, Subsystem
Turbine Generator and Auxiliaries Subsystem
Inatrument and Service Air Subsystem
Helium Purification Subsystem
Helium Storage and Tranafer Subsystem
Class 1E dc Power Subsystem
Plant Control, Data, and Instrumentation System
Heater Drains and Condensate Returns Subsystem
Condensate Polishing Subsystem
Radiation Monitoring Subsystem
Vessel Support Subsystem